## Slide 1
Flemming Rasmussen
Light weight rotor design for 10 - 20 MW wind turbines
DTU Wind Energy

## Slide 2: Standard three-bladed turbine, DTU 10 MW RWT
Improvements:
-Aerodynamics
-Structural design
-Aeroelastic tayloring
-Smart control
Innovations are applied to:
-reduce loads and thus
-stretch the rotor and
-increase swept area

## Slide 3: Validation of design tools used in INNWIND.eu
High Reynolds no. effects validated
Compressibility effects validated
Aeroelastics, geometric coupling effects
Material bend twist coupling
Aerodynamic model for active flaps
Reynolds no. effect
Compressibility effect
Active flaps model
Aeroelastics, geometric coupling effects
Material bend twist coupling

## Slide 4: Innovative aerodynamic designs
Low induction rotor
Two-bladed rotor
Thick airfoils outboard
Non conventional airfoils
Low lift airfoil
+10% AEP
- 30% weight
L/D 30% = L/D 24%
+ 28% L/D increase
PIV flow field
measurements
Drag reduction devices

## Slide 5: Thick Airfoil Design - 30% thick airfoil to substitute 24% FFA
Testing

## Slide 6: Structural design concepts
POLIMI scaled down version of the 10 MW RWT with BTC
Bend twist coupling
RWT 10 MW
Flat back
(Same structure char.)
Truss structure
(Weight reduction)
Spar cap offset
(Flap/torsion)
Grid stiffened panels
(-30% panel weight)

## Slide 7
Future perspectives?:
Optimised airplane wing structure

## Slide 8: Aero-structural rotor design tool
Aerostructural Optimization of a 10MW rotor
DTU 10MW RWT
Basis for design studies of next generation MW-turbines

## Slide 9: Stretched 10MW RWT Aeroelastically Tailored 10 MW blade
Blade length increase: 9%
AEP increase: 8.7%
Flapwise fatigue reduction: 6%
Blade torsion at 11 m/s: 6 deg.
Extreme and lifetime equivalent loads within 5%
“Design of an Aeroelastically Tailored 10 MW Wind Turbine Rotor” Frederik Zahle et all

## Slide 10: Preliminary Aeroelastic MDO of a Passive-Controlled Stretched Blade (Ref. Christian Pavese)
1st Passive Control Strategy
SWEEP
BTC Parameter
2nd Passive Control Strategy
CAPS OFFSET
3rd Passive Control Strategy
Material BTC
Sweep, spar caps offset, orientation of the fibres in the spar caps, blade radius are the relevant variables
~60 design variables and ~750 constraints

## Slide 11: Preliminary Aeroelastic MDO of a Passive-Controlled Stretched Blade (Ref. Christian Pavese)
LTEFL
Failure
 | DTU 10MW RWT | PCSB
AEP [GWh] | 48.54 | +6.0%
Blade Radius [m] | 86.37 | +5.8%
Blade Mass [kg] | 41722 | +0.8%
Tower Clearance [m] | 3.656 | +36.2%
AEP is greatly increased within the tower clearance constraints
The torsional stiffness is particularly decreased
The combination of passive control methods regulate the tower loads, but fatigue constraints and frequency placement must be added to have a better control on the results
A fatigue constraint on blade root edgewise fatigue load must be added to improve the MDO

## Slide 12: Investigations regarding direction of vibration - and pitch (torsion) coupling
Rasmussen, F., Petersen, J., Madsen, H.A., ’Dynamic Stall and Aerodynamic Damping’,
J. Solar Energy Engineering 121, 150-155, 1999
Flap-edge
Flap-torsion coupling

## Slide 13: Rotating Test Rig Measured flap response
Add Presentation Title in Footer via ”Insert”; ”Header & Footer”
Change of Cl
ECN 30%
UBristol flap concept

## Slide 14: Wind tunnel: active turbulence grid
Wind tunnel experiments using an advanced data-driven feedback controller that mitigates the loads. Turbulence intensity 3%
Active turbulence grid and two-bladed rotor with individual pitch control and free floating flaps

## Slide 15: Passive and active load control
Blade fatigue loads
Up scaled 20MW turbine

## Slide 16: Optimal aeroelastic rotor design with active flaps
• Flap only deflected in below rated conditions
• Flap operates in a quasi-steady mode
Blade Chord
Shear Center
Flap Deflection